GL-011 FuelCraft
Fuel Management Optimizer

Build & Implementation Guide (All Teams)

Version 1.1  |  Target Release: Q1 2026  |  Date: 2025-12-23

| Agent ID | GL-011 |
| --- | --- |
| Codename | FUELCRAFT |
| Function | FuelManagementOptimizer |
| Domain | Fuel Systems (multi-fuel procurement, storage, and blending) |
| Priority / Tier | P1 / Medium |
| Status | Implemented (as provided) |
| Business Value | $8B program impact (as provided) |

# Table of Contents

Insert auto-updating Table of Contents in Word: References -> Table of Contents.

# 1. Executive Summary

GL-011 (FuelCraft) is a deterministic optimization agent that recommends an optimal multi-fuel procurement, storage, and blending plan. It combines: (1) fuel price forecasting, (2) calorific value and inventory-aware blending and dispatch constraints, (3) carbon intensity accounting, and (4) explainability reports (SHAP/LIME) for forecast drivers and decision rationale.
The system is designed for zero-hallucination operation: all outputs must be traceable to governed data and deterministic computations. The agent produces an auditable run bundle for every solve, enabling reproducibility and operational confidence.

# 2. Scope, Objectives, and Non-Goals

## 2.1 Objectives

Minimize delivered energy cost while meeting demand and operational constraints.

Provide an optimal fuel mix and blending ratios that remain within certified quality and safety limits.

Reduce carbon footprint and/or intensity subject to site policy and compliance requirements.

Improve procurement timing through price forecasts and scenario-aware scheduling.

Provide transparent decision rationale via explainability (forecasts + optimization constraint drivers).

## 2.2 In Scope (Functional)

Multi-fuel optimization with calorific value tracking on an energy basis (MJ or MMBtu).

Fuel blending recommendations (blend ratios) subject to quality, safety, and equipment constraints.

Procurement scheduling (contract vs spot, delivery timing, volumes) with inventory balance.

Carbon intensity calculations (kgCO2e/MJ) and carbon footprint reporting (tCO2e).

Price forecasting using historical/spot/forward signals and exogenous drivers (including weather).

Explainability packages: SHAP/LIME for price forecasts; constraint/binding reports for optimization.

## 2.3 Non-Goals (initial release)

Autonomous execution of purchases or controls actuation (recommendation-only unless separately authorized).

Free-form conversational outputs that are not grounded in governed data.

Sub-second combustion control loops; GL-011 focuses on planning horizons (hours to months).

# 3. Teams, Responsibilities, and RACI

This section aligns all contributing teams on ownership and handoffs. RACI is defined per major capability.

## 3.1 Team Roles (summary)

Program/Product: requirements, KPIs, baseline definition, governance, and sign-off.

Data Engineering: ingestion, canonical schemas, data quality gates, lineage, and feature store feeds.

AI/ML: forecasting models, uncertainty, explainability for forecasts, and model monitoring.

Optimization/OR (Math): LP/MILP formulation, solver implementation, and decision explainability from constraints.

Engineering/OT: fuel property rules, safety constraints, OPC-UA tag mapping, and telemetry validation.

Climate Intelligence: emission factor governance, carbon boundary definitions, and reconciliation to existing accounting.

Software Engineering: APIs, orchestration, reporting, integrations, and platform reliability.

QA/Validation: test automation, scenario library, and release certification.

Security/IT: RBAC, secrets, audit logging, and compliance controls.

## 3.2 RACI Matrix (capabilities)

| Capability | Program | Data Eng | AI/ML | OR/Math | OT/Eng | Climate | SW Eng | QA | Security |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Canonical schemas + unit standards | A | R | C | C | C | C | C | C | C |
| Ingestion + DQ gates | C | A/R | C | C | C | C | R | C | C |
| Price forecasting + uncertainty | C | C | A/R | C | C | C | C | C | C |
| SHAP/LIME for forecasts | C | C | A/R | C | C | C | C | C | C |
| Optimization model + solver service | C | C | C | A/R | C | C | C | C | C |
| Safety + blend constraint rules | C | C | C | C | A/R | C | C | C | C |
| Emission factors + carbon policy | C | C | C | C | C | A/R | C | C | C |
| ERP/Procurement integrations | C | C | C | C | C | C | A/R | C | C |
| Audit logs + RBAC | C | C | C | C | C | C | R | C | A/R |
| Release validation + UAT | A | C | C | C | C | C | C | A/R | C |

Legend: R = Responsible, A = Accountable, C = Consulted.

# 4. Outputs (What the Agent Produces)

Optimal fuel mix plan by time bucket (e.g., hourly/daily) with blend ratios by fuel component.

Cost breakdown: purchase, logistics, storage losses, contract penalties, carbon costs (if applicable).

Carbon footprint and intensity: by period, by fuel, and by blend; audit trail of emission factors used.

Procurement schedule: suggested orders, delivery windows, contract allocations, and inventory projections.

Price forecasts for each fuel (spot and relevant forward horizons) with uncertainty bounds.

Explainability: forecast drivers (SHAP/LIME) and decision drivers (binding constraints, slacks, marginal values where valid).

Diagnostics: data completeness and any fallback behavior triggered.

# 5. High-Level Architecture (End-to-End)

The system is composed of ingest, feature, forecast, optimize, and report layers. Each run creates an immutable solve bundle for reproducibility.

| Layer | Key Components | Primary Interfaces |
| --- | --- | --- |
| Ingest & Governance | Connectors; schema registry; unit normalization; DQ gates; lineage; reference/master data | Kafka topics; OPC-UA; ERP APIs; reference data store |
| Feature & Forecast | Feature store; forecast training/serving pipelines; uncertainty estimates; model registry | Batch/stream features; model serving API |
| Optimization Core | LP/MILP model builder; solver; scenario manager; deterministic bundle packager | Input bundles; solver; results store |
| Explainability & Reporting | SHAP/LIME; optimization binding-constraint report; templated report generator | PDF/HTML/JSON; audit logs |
| Integration & Delivery | Exports to ERP/procurement + carbon accounting; dashboards | REST/gRPC; file drops; BI connectors |
| Observability & Controls | Monitoring/alerts; reproducibility checks; access control | Metrics/logs/traces; RBAC; secrets |

## 5.1 Deterministic Run Bundle

Every run produces a bundle containing: input snapshots, unit conversions applied, effective-dated master data versions, model versions, solver version/config, outputs, and logs.

Bundle replays must be identical across environments (within defined numeric tolerance).

Reports are generated only from structured outputs and governed metadata.

# 6. Data Requirements (Inputs, Quality, and Ownership)

This section defines required datasets, minimal schema expectations, quality thresholds, and ownership. Critical feeds are fail-closed.

## 6.1 Core Input Datasets (landscape)

| Dataset | Examples of Fields | Granularity | Latency/Frequency | Units & Standards | Primary Owner |
| --- | --- | --- | --- | --- | --- |
| Fuel prices & curves | spot price; forward curve points; basis differentials; supplier quotes; freight | fuel x market x time | hourly/daily; curves as published | currency/unit normalized; UTC timestamps | AI/ML + Data Eng + Procurement |
| Fuel availability & lead times | max available volume; delivery windows; port constraints; lead time; reliability | supplier x fuel x period | daily/weekly | volume basis (t, m3) with density correction | Procurement + Data Eng |
| Calorific values & properties | LHV/HHV; density(T); sulfur; ash; viscosity; pour/flash point; water content | batch/lot (preferred) or fuel type | per delivery/batch; master data quarterly | energy basis MJ/kg or MJ/m3; property standards | Engineering + Lab/QA |
| Emissions factors | TTW/WTT/WTW factors; pathway; GWP version; scope boundary | fuel type and/or supplier pathway | quarterly/annual refresh | kgCO2e/MJ preferred; effective-dated | Climate Intelligence |
| Inventory & storage telemetry | tank level; temperature; density; water interface; max/min; transfer rates; losses | tank x time | streaming (1-5 min) + daily reconciliation | m3 @ reference temp; kg basis when possible | OT/Controls + Data Eng |
| Contract terms | take-or-pay; min/max; tiered pricing; penalties; nomination rules; delivery constraints | contract x period | as-changed; snapshot daily | currency; volume/energy conversion explicitly stated | Procurement + Legal + Finance |
| Demand forecast / burn plan | thermal demand; dispatch plan; outages; unit heat rate bounds | plant/unit x period | hourly/day-ahead to monthly | MWh_th aligned to LHV/HHV convention | Operations + Planning |
| Weather forecasts | temperature; wind; precipitation; HDD/CDD; storm risk; shipping disruption signals | region x time | hourly to daily | standard meteorological units; stable region mapping | Climate Intel + AI/ML |
| Spot logistics & constraints | terminal/berth capacity; trucking limits; route times; demurrage rules | route x period | daily/weekly | time & volume units normalized | Supply Chain + Data Eng |

## 6.2 Data Quality Gates (Hard Requirements)

Unit normalization must be lossless and audited (original units preserved; conversion logged).

Critical feeds are fail-closed: inventory, calorific values, emissions factors, and active contract constraints.

Timeliness SLOs: inventory telemetry max delay 10 minutes; daily reconciliation by 06:00 local plant time.

Completeness per run: prices >= 95% coverage for required fuels/horizons; inventory = 100%; contracts = 100% for active contracts.

Outlier/stale detection with explicit fallback policy and operator notification.

Master data versioning: fuel types, properties, and factor tables must be version-controlled and effective-dated.

## 6.3 Canonical Units and Conversion Library

Implement a single conversion library used by ingestion, forecasting, optimization, and reporting.

Energy: MJ (preferred) or MMBtu (choose one canonical).

Mass: kg; Volume: m3 at reference temperature (e.g., 15 C).

Carbon: kgCO2e and tCO2e; carbon intensity: kgCO2e/MJ.

Time: ISO 8601 timestamps in UTC; display in local time for users.

All conversions must carry: factor, source standard, and effective date.

# 7. Mathematics & Optimization (What the OR/Math Team Builds)

## 7.1 Model Formulation (recommended structure)

Decision variables: procurements by fuel and period; inventory by tank and period; blending ratios by period; optional binary variables for discrete contract/logistics decisions.

Objective: minimize cost (purchase + logistics + penalties + optional carbon cost + optional risk term).

Constraints: demand satisfaction on energy basis; inventory balance; tank/flow limits; blend quality limits; contract and availability constraints; optional emissions caps/targets.

## 7.2 Variable/Constraint Dictionary (starter)

| Symbol | Meaning | Indexing | Notes |
| --- | --- | --- | --- |
| x_{i,t} | Procure quantity of fuel i in period t | i in fuels; t in periods | Use mass or energy; prefer energy for objective |
| y_{i,t} | Consumed/withdrawn fuel i in period t | i,t | Linked to demand via LHV |
| s_{k,t} | Inventory in tank k at period t | k in tanks; t | Track by fuel or by tank-fuel if segregated |
| b_{i,t} | Blend fraction of fuel i in period t | i,t | Sum_i b_{i,t} = 1 for a blend stream |
| z_{c,t} | Contract commitment decision variables | contract c; t | Binaries/integers when needed |

## 7.3 Carbon Intensity and Emissions

Carbon intensity for a blended stream must be computed on an energy-weighted basis. If emission factors are provided per mass or per volume, convert to energy basis using the same heating value convention used in the optimization.

Blend energy: E_i(t) = mass_i(t) * LHV_i (or volume_i(t) * density_i(T) * LHV_i).

Blend intensity: CI_blend(t) = sum_i (E_i(t) * CI_i) / sum_i E_i(t).

Total emissions: Emissions(t) = sum_i (E_i(t) * CI_i) with clear boundary (TTW/WTT/WTW).

## 7.4 Uncertainty

Baseline: deterministic solve on P50 forecasts.

Scenario mode: solve across price/demand quantiles (e.g., P10/P50/P90) and report range of outcomes.

Robust mode: optimize against worst-case prices within uncertainty bands for critical fuels.

All uncertainty parameters must be explicit and stored in the run bundle.

# 8. Thermal & Fuel Blending Engineering Requirements

## 8.1 Heating Value and Basis

Select and document internal convention: LHV or HHV. Do not mix conventions across modules.

Normalize all energy conversions using heating values and temperature-corrected density.

For liquid fuels measured by volume, correct to reference temperature and convert to mass using density@ref.

## 8.2 Blend Property Calculations

Energy blending is linear on mass fractions for LHV/HHV, but some properties (e.g., viscosity) may be non-linear. Use approved correlations and document them.

Enforce safety-critical constraints as hard constraints (flash point, vapor pressure, compatibility).

Record any assumed default properties and require explicit operator approval when lab assays are missing.

## 8.3 Operational Constraints to Encode

Tank segregation rules (which fuels may co-mingle) and heel/minimum operating levels.

Transfer/blending equipment rate limits and minimum stable operating flow.

Quality constraints per equipment/vendor (sulfur limits, ash, viscosity bands, water content).

Loss factors (boil-off/handling) and measurement uncertainty, calibrated per site.

# 9. AI/ML: Price Forecasting, Uncertainty, and Explainability

## 9.1 Forecasting Requirements

Forecasts must be produced for each fuel and relevant market hub, with horizons aligned to procurement lead times (day-ahead to months).

Forecast outputs must include: P10/P50/P90 (or equivalent) and a diagnostic score indicating model confidence.

Training and serving must share a feature definition contract to prevent drift and leakage.

## 9.2 Determinism and Reproducibility

Pin library versions; fix random seeds; version training datasets; store feature extraction code versions.

Deploy models via a registry that records training data hash, feature schema version, and evaluation metrics.

Do not allow non-deterministic GPU kernels in the critical path unless reproducibility is proven and documented.

## 9.3 Explainability

Compute SHAP/LIME attributions for key forecast outputs and store them as structured artifacts.

Map raw features to business-language labels (e.g., “NWE gas storage level” rather than feature_173).

For optimization, provide binding constraints and sensitivity outputs (slacks; dual values where available).

# 10. Software Engineering: Services, APIs, and Integrations

## 10.1 Minimum Service Set

Ingestion & canonicalization services (batch + streaming).

Forecast training pipeline and forecast serving API.

Optimization service (build model, solve, persist outputs, expose results).

Reporting service (templated reports + explainability annex).

Integration services to ERP/procurement, carbon accounting, OPC-UA/Kafka.

## 10.2 API and Event Contracts (starter)

All requests and responses include run_id, effective time window, and schema_version.

All result payloads include bundle_hash and references to input snapshot IDs.

Events/topics use schema registry and compatibility checks (backward compatible by default).

| Interface | Type | Purpose | Key fields (minimum) |
| --- | --- | --- | --- |
| POST /runs | REST | Create a run request | site_id; horizon; mode; policy_id; requested_at |
| GET /runs/{run_id} | REST | Retrieve run status and metadata | state; bundle_hash; timestamps |
| GET /runs/{run_id}/recommendation | REST | Retrieve optimized plan | fuel_mix; blend_ratios; schedule; costs; carbon |
| topic: fuel.inventory.v1 | Kafka | Inventory telemetry stream | tank_id; timestamp_utc; volume_m3_ref; temp_c; density |
| OPC-UA: TankLevel/Temp | OPC-UA | Raw OT tags | tag_id; timestamp; value; quality |

# 11. Climate Intelligence: Carbon Accounting Methodology

## 11.1 Boundaries, Factors, and Governance

Define boundaries (TTW, WTT, WTW) and report all that are required by the business and regulators.

Define GWP version and keep factor tables effective-dated with provenance metadata.

Support both default factors and supplier/pathway-specific factors when available; selection rules must be explicit.

## 11.2 Reconciliation

Reconcile GL-011 emissions outputs to the enterprise carbon accounting system on a historical period before go-live.

Document tolerance thresholds and root-cause playbook for differences (basis, density correction, boundary definitions).

# 12. Zero-Hallucination Governance and Controls

Fail-closed for critical missing data with explicit operator-visible error messages and remediation hints.

No free-form narrative generation. Reports are template-driven and cite internal data IDs and bundle_hash.

All numeric outputs must be traceable; store lineage to raw records and conversion steps.

Configuration management: constraint sets and policies are versioned; changes require review and regression tests.

Role-based access control and audit logs for every run, export, and override.

# 13. Testing, Validation, and Acceptance Criteria

## 13.1 Testing Requirements

Unit tests: conversions, blend math, emissions accounting, contract logic.

Regression tests: known scenarios with expected solutions; solver determinism checks.

Integration tests: OPC-UA/Kafka ingest; ERP exports; end-to-end bundle replay.

Backtesting: compare against baseline procurement policy; quantify savings and carbon impacts.

## 13.2 Acceptance Criteria (initial release)

Reproducibility: same bundle yields identical results within defined tolerances.

Operational safety: no recommendations violate certified safety constraints.

Business outcomes: validated savings and/or carbon improvement vs approved baseline on backtests.

Transparency: explainability artifacts available for forecasts and optimization decisions.

# 14. Team Deliverables and Workplan (Q1 2026 target)

## 14.1 Workstreams and Deliverables

| Team | Primary Deliverables | Key Dependencies | Definition of Done (DoD) |
| --- | --- | --- | --- |
| Program/Product | PRD; KPIs; baseline definition; sign-off gates; operating model | stakeholder alignment; site selection | PRD approved; KPI measurement plan; UAT schedule |
| Data Engineering | canonical schemas; pipelines; DQ gates; feature feeds; run-bundle snapshotting | source system access (ERP, OPC-UA, vendors) | SLOs met; lineage/versioning; backfills complete |
| Optimization/OR | LP/MILP formulation; solver service; scenario/robust mode; constraint explainability | data model; engineering constraints | passes regression; deterministic solves; documented constraints |
| AI/ML | forecast models; uncertainty; SHAP/LIME; drift monitoring; retraining | clean historical data; feature store | backtest metrics met; explainability artifacts generated per run |
| Climate Intelligence | factor governance; scope/GWP policy; reconciliation to carbon accounting | standards selection; sustainability requirements | auditable factor library; reconciliation report approved |
| Software Engineering | APIs; orchestration; report generator; integrations; observability | platform; security patterns | staging E2E run; performance SLOs; security review complete |
| OT/Controls Engineering | OPC-UA tag map; telemetry validation; safety constraint rules | site access; historian integration | validated telemetry; constraints encoded and tested |
| QA/Validation | test automation; scenario library; release certification | all teams’ artifacts | coverage targets met; UAT sign-off; release checklist complete |
| Security/IT | RBAC; secrets; audit logs; vulnerability scanning | platform standards | security sign-off; findings resolved |

## 14.2 Suggested Milestones (illustrative)

Week 1-2: finalize canonical data model, unit standards, and emissions factor governance.

Week 3-6: implement ingestion and DQ gates; baseline optimization prototype; first forecast baseline.

Week 7-9: integrate contracts and inventory; add blending/quality constraints; first end-to-end runs.

Week 10-11: explainability and reporting; integration exports; observability and security hardening.

Week 12: UAT, backtest sign-off, and production readiness review.

# Appendix A. Minimum Data Dictionary (starter)

Extend with site-specific fields; every field must have a unit and an effective date where applicable.

| Entity | Field | Type | Unit/Convention | Notes |
| --- | --- | --- | --- | --- |
| FuelProperty | fuel_id | string | - | Master identifier |
| FuelProperty | lhv_mj_per_kg | float | MJ/kg | Effective-dated; batch-level preferred |
| FuelProperty | density_kg_per_m3_ref | float | kg/m3 @ 15 C | Reference temperature stored |
| FuelProperty | sulfur_wt_pct | float | wt% | Blend constraint input |
| EmissionFactor | ci_kgco2e_per_mj_wtw | float | kgCO2e/MJ | WTW; keep TTW/WTT separately if possible |
| Inventory | tank_id | string | - | Physical tank identifier |
| Inventory | volume_m3_ref | float | m3 @ 15 C | Corrected volume |
| Inventory | temperature_c | float | C | For density correction and quality risk |
| Price | price_value | float | currency/unit | Original unit stored; canonicalize internally |
| Contract | min_take_t | float | t | Effective-dated; may be energy-based |
| Demand | demand_mwh_th | float | MWh_th | Aligned with LHV/HHV convention |

# Appendix B. Run Bundle Structure (required for every solve)

Store run bundles in immutable object storage with content-addressed hashing.

| Path (example) | Contents |
| --- | --- |
| bundle.json | manifest: run_id, bundle_hash, timestamps, schema versions, policy_id |
| inputs/prices.parquet | normalized price curves + provenance |
| inputs/inventory.parquet | inventory snapshot + telemetry quality flags |
| inputs/properties.parquet | heating values, densities, quality properties (effective-dated) |
| inputs/emissions.parquet | emission factors + boundary metadata |
| inputs/contracts.parquet | active contract terms snapshot |
| models/forecast/ | model version IDs + feature schema + evaluation metrics |
| solver/model.mps | serialized optimization model |
| solver/solve.log | solver logs and configuration |
| outputs/recommendation.json | fuel mix, blend ratios, procurement schedule, costs, carbon |
| outputs/explainability.json | SHAP/LIME attributions + binding constraints report |
| reports/report.pdf | templated human-readable report |

# Appendix C. Safety and Quality Constraint Checklist (engineering-owned)

Fuel compatibility matrix (what can co-mingle; what cannot).

Minimum/maximum sulfur, ash, water content, and metals (as applicable) per equipment/vendor.

Flash point and vapor pressure constraints for handling and storage.

Minimum tank heel and maximum fill levels; overfill protection policy.

Transfer and blending rate limits; interlock constraints (e.g., valves/pumps).

Alarm and exception policy: what triggers operator review or blocks recommendation export.

# Appendix D. Glossary

LHV/HHV: Lower/Higher Heating Value (energy released per mass/volume).

WTW/WTT/TTW: Well-to-wheel / well-to-tank / tank-to-wheel emissions boundaries.

MILP/LP: Mixed-Integer Linear Programming / Linear Programming.

SHAP/LIME: Explainability methods producing feature attributions for model outputs.

Run bundle: immutable packaged inputs + versions + outputs that guarantees reproducibility and auditability.