GL-019 HeatScheduler

ProcessHeatingScheduler Agent — Team Implementation & Integration Plan

| Agent ID | GL-019 |
| --- | --- |
| Agent Name | HEATSCHEDULER |
| Capability | ML demand forecasting (SHAP/LIME) + thermal storage optimization + TOU arbitrage + UQ + production integration + SSE streaming |
| Category | Planning / Coordinator Agent |
| Complexity | Medium |
| Priority | P1 |
| Program Value | $7B (as provided) |
| Target Delivery | Q2 2026 |
| Maturity / Readiness | 95 (as provided) |
| Status | Implemented (as provided) — confirm in roadmap |
| Document Version | 1.1 |
| Last Updated | 2025-12-26 |

# Table of Contents

Note: In Microsoft Word, right‑click the table of contents and select “Update Field” to populate page numbers.

# 1. Overview

GL‑019 HeatScheduler is a planning‑layer agent that coordinates process heating assets and thermal storage to meet production heat demand at minimum cost and risk. It combines probabilistic ML demand forecasting with explainability (SHAP/LIME) and a constrained optimization engine that accounts for time‑of‑use (TOU) tariffs, demand charges, equipment availability, storage constraints, and grid signals.

This document is written for all teams: AI/ML, software development, data engineering, process/thermal engineering, mechanical/facilities engineering, controls/OT engineering, energy & market intelligence, operational intelligence/BI, climate intelligence, security/compliance, QA/validation, and operations/SRE.

# 2. Inputs, Outputs, and Interfaces

## 2.1 Inputs

Production schedule: planned batches/runs, product mix, throughput targets, changeovers/CIP events.

Energy tariffs: TOU periods, demand charges, seasonal rates, fuel prices; optional real‑time prices.

Equipment availability: online/offline/derated, maintenance windows, start/stop limitations.

Weather forecasts: temperature, humidity, wind, solar (as applicable), forecast uncertainty.

Historical demand: steam/heat meter readings, header pressures, temperatures, flows, and relevant derived signals.

Thermal storage telemetry: state of charge/temperature, losses, charge/discharge limits, availability.

Grid signals (optional): DR events, curtailment requests, carbon intensity, price spikes.

## 2.2 Outputs

Optimized heating schedule (asset setpoints/states on the planning grid).

Thermal storage dispatch plan (charge/discharge + projected SoC).

Cost and savings forecast vs baseline (energy, demand charge, fuel, carbon).

Demand forecast with uncertainty bounds (quantiles/scenarios).

Explainability reports for demand forecasts and schedule drivers.

Streaming updates via SSE and publish/subscribe via Kafka.

## 2.3 Primary Interfaces

Production planning systems (MES/APS/ERP) via API, file drop, or message bus.

Energy management systems (EMS) for metering, tariffs, and reporting.

Thermal storage controllers via OT integration (OPC‑UA).

Kafka event bus for internal integration; SSE for external real‑time consumers.

# 3. Key Decisions Required Early

These decisions unblock engineering work and should be resolved in Phase 0 workshops.

| Decision | Guidance |
| --- | --- |
| Planning grid | Choose Δt (recommended 15 min) and horizon (recommended 72 h) based on tariff granularity and storage duration. |
| Demand definition | Define the canonical thermal demand signal (kWth vs steam kg/h vs enthalpy flow) and conversion rules. |
| Storage model fidelity | Choose baseline energy‑buffer model vs stratified/pressure‑based model; set acceptable error. |
| Operating mode | Shadow vs advisory vs supervised vs automatic; define approval workflow if any actuation is planned. |
| Baseline for savings | Define baseline schedule/cost method (historical, rule‑based, current operator practice). |
| Solver stack | Select MILP/LP/NLP solver (commercial vs open source) and acceptable optimality gap/timeouts. |

# 4. Team Workstreams and What To Do

Each workstream below includes concrete tasks and deliverables. Owners should translate this into sprint backlogs.

| Workstream | Key Tasks | Deliverables |
| --- | --- | --- |
| AI/ML (Forecasting + Explainability + UQ) | • Define forecasting target(s) aligned with thermal engineering definitions. • Build baseline + production model (probabilistic) and integrate into inference service. • Implement UQ (quantiles + conformal) and calibration monitoring. • Implement SHAP/LIME pipelines and operator‑friendly explanation narratives. • Provide model governance: model registry, model card, approval, and rollback. | • Forecast model artifacts + inference container • Quantile/scenario forecast outputs • Explainability report templates + storage • Monitoring dashboards and retrain triggers • Model card + limitations |
| Data Engineering (Ingestion + Contracts + Quality) | • Implement ingestion from production planning, tariffs, weather, grid signals, and OPC‑UA. • Define and publish versioned schemas/data contracts and unit normalization rules. • Build curated feature pipeline and storage (time‑series DB + lake/warehouse). • Implement data quality checks (range, missingness, staleness, consistency) and alerting. • Enable backfills and replay for offline testing and audits. | • Kafka topics (raw + curated) with schemas • Time‑series and warehouse datasets • Data dictionary and lineage • DQ dashboards + alerts • Replay harness datasets |
| Software Development / Platform (Optimization + APIs + Streaming) | • Implement optimization service (MPC) with pluggable solver and configuration‑driven constraints. • Implement orchestration: event‑triggered replanning, caching, run_id tracking, and schedule versioning. • Build REST APIs and SSE gateway; provide SDK/client examples. • Compute and persist KPIs (cost, savings, peak, emissions) with baseline comparison. • Prepare deployment (containers, CI/CD, environment configs) and operational hooks. | • Optimization service + solver integration • REST endpoints + OpenAPI spec • SSE streaming endpoint + taxonomy • KPI engine + persistence • Deployment manifests (K8s/VM) + CI/CD |
| Process & Thermal Engineering | • Define and validate the canonical thermal demand signal and conversions (enthalpy, Cp·ΔT). • Provide equipment constraints, operating envelopes, efficiency curves, and maintenance derates. • Define and validate storage model parameters (capacity, losses, max charge/discharge). • Create recipe‑to‑load mapping library (product/batch → thermal profile + variance). • Review optimization outputs in pilot; sign off on constraints and safety policy. | • Thermal model spec + sign‑off • Constraint library and parameter tables • Recipe/load mapping library • Safety envelope definitions • Pilot validation report |
| Mechanical / Facilities Engineering (Related Engineering) | • Validate physical equipment ratings, instrumentation accuracy, and maintenance constraints. • Provide heat loss coefficients (pipes/tanks), insulation status, and retrofit opportunities impacting model parameters. • Support identification of measurement gaps (missing heat meters, unreliable sensors). | • Equipment rating/metadata register • Heat loss parameter estimates • Instrumentation gap list + remediation plan |
| Controls / OT Engineering | • Define OPC‑UA tag mapping (node IDs, scaling, units, quality flags) and connectivity architecture. • Implement secure OT gateway and ensure network segmentation and allow‑listed flows. • If actuation is planned: design write‑back strategy, interlocks, manual override, and commissioning steps. • Run commissioning: shadow → advisory → supervised (and optional automatic). | • OPC‑UA tag map + test results • Connectivity/certificate configuration • Commissioning plan + SOP updates • Actuation gating workflow (if applicable) |
| Energy & Market Intelligence | • Encode tariffs precisely (TOU, seasonal, demand charges, ratchets, penalties). • Define baseline cost calculation and savings measurement & verification (M&V) rules. • Provide grid signals: DR events, RTP, carbon intensity; define semantics and priority handling. • Align objective weights (cost vs peak vs emissions) with business policy. | • Tariff engine spec + unit tests • Baseline + M&V methodology • Grid signal normalization spec • Objective policy document |
| Operational Intelligence / BI | • Define dashboards and reporting needs for planners, operators, energy managers, and leadership. • Implement KPI reporting, variance analysis, and root‑cause analytics tied to run_id and explanations. • Support post‑pilot ROI reporting and continuous improvement insights. | • Dashboards (schedule, forecasts, costs, savings, emissions) • Weekly/monthly KPI reports • Anomaly and variance analysis views |
| Climate Intelligence | • Select weather forecast sources and define fallback chain. • Quantify forecast bias for the site; provide bias correction or feature engineering guidance. • Provide extreme event indicators (heat waves/cold snaps) and risk flags used by planner. | • Weather sourcing + SLA document • Bias correction parameters/approach • Extreme event feature set + thresholds |
| Security & Compliance | • Threat model for IT/OT integration; define controls and review architecture. • RBAC/IAM implementation, secrets management, and audit logging requirements. • Coordinate security testing and compliance sign‑offs. | • Threat model + security architecture • IAM/RBAC policy • Audit logging + SIEM integration • Security review / pen test results |
| QA / Validation | • Build test strategy: unit, integration, replay, stress, and UAT. • Develop simulation/replay harness to test forecasts and optimization against historical weeks. • Coordinate operator/SME UAT and document acceptance. | • Automated regression suite • Replay/simulation harness • UAT scripts + sign‑off report |
| Operations / SRE | • Define SLOs, dashboards, and alerting; create runbooks and incident response playbooks. • Set up monitoring for data health, model drift, solver health, and streaming reliability. • Coordinate deployment, on‑call rotations, and post‑incident reviews. | • SLO/SLA definitions • Runbooks + alerts • Operational dashboards • Post‑implementation review |

# 5. Reference Architecture

## 5.1 Logical Architecture

+----------------------+      +------------------------+      +----------------------+

| Production Planning  |      | Tariffs / Grid Signals |      | Weather Forecasts     |

| (MES/APS/ERP)        |      | (TOU/RTP/DR/CO2)       |      | (Temp/Humidity/etc.)  |

+----------+-----------+      +-----------+------------+      +----------+-----------+

\                         |                              /

\                        |                             /

v                       v                            v

+---------------------------------------------------------------+

|                  Data Ingestion + Validation                  |

|   OPC-UA adapters | APIs | File drops | Schema + Unit checks  |

+---------------------------+-----------------------------------+

|

v

+------------------------------+

| Kafka Event Bus (raw/curated)|

+--------------+---------------+

|

+--------------------+--------------------+

|                                         |

v                                         v

+--------------------------+             +---------------------------+

| Feature/Time-Series Store|             | Offline Training Pipeline |

| (curated signals, SoC)   |             | (batch, backtests)        |

+------------+-------------+             +------------+--------------+

|                                          |

v                                          v

+--------------------------+             +---------------------------+

| Forecast Service         |             | Model Registry + Monitor  |

| (UQ + SHAP/LIME)         |             | (approval, rollback)      |

+------------+-------------+             +---------------------------+

|

v

+--------------------------+

| Optimization Service     |

| (thermal + storage MPC)  |

+------------+-------------+

|

v

+--------------------------+             +---------------------------+

| REST API + SSE Gateway   |<----------->| UI / Dashboards / BI      |

+------------+-------------+             +---------------------------+

|

v

+--------------------------+

| Optional OT Write-back   |

| (OPC-UA / DCS interface) |

+--------------------------+

## 5.2 Technology Baseline (Suggested)

Languages: Python for ML + optimization; TypeScript/Go/Java for high‑throughput services if required (team choice).

API framework: FastAPI or equivalent; OpenAPI spec required.

Streaming: SSE via API gateway; Kafka for internal events.

Optimization: Pyomo/PuLP/OR‑Tools + solver (Gurobi/CPLEX/HiGHS) depending on license constraints.

Data: Kafka + time‑series DB + object store (for artifacts) + warehouse (for analytics).

Deployment: containers (Docker) on Kubernetes or approved runtime; IaC for environments.

Observability: Prometheus + Grafana (or enterprise equivalent), centralized logs, tracing.

# 6. Data Requirements (Detailed)

## 6.1 Canonical Units and Conversions

Thermal power: kWth (recommended) or MWth for large sites.

Thermal energy: kWhth or MWhth.

Steam: kg/h (flow) plus enthalpy (kJ/kg) when converting to kWth.

Temperatures: °C; pressure: kPa/bar; ensure consistent reference pressure for steam tables.

Energy prices: USD/kWh; demand charge: USD/kW (per month).

## 6.2 Minimum Signals and Quality Thresholds

| Signal | Minimum Quality / Freshness |
| --- | --- |
| Thermal demand actual | ≤1% missing/day; engineering range enforced; unit verified |
| Steam header pressure/temperature (if steam) | ≤2% missing/day; drift alarms enabled |
| Boiler/heater output proxy (fuel flow, firing rate) | ≤2% missing/day; cross-check vs demand |
| Storage SoC/temperature | ≤1% missing/day; monotonic checks with dispatch |
| Production schedule | No staleness > 1 hour; versioned updates; completeness checks |
| Tariff data | Must cover entire horizon; fallback to last known allowed only within policy |

## 6.3 Example Data Contracts

Contract requirements (apply to each stream):

- schema_version: semantic version string

- site_id: string

- ts_utc: ISO 8601 timestamp (UTC)

- units: explicit per field (or fixed by schema)

- quality_flag: good/bad/estimated (if available)

- source_system: e.g., OPCUA, MES, WEATHER_PROVIDER

- backfill: allowed? (Y/N) and how it is marked

# 7. Thermal Requirements and Physics

## 7.1 Demand Calculation Reference

Hot water: Q̇ = ṁ·Cp·ΔT.

Steam: Q̇ = ṁ·Δh.

Where required, use standardized steam tables at measured header pressure; document the source library/table used.

## 7.2 Storage Model

Baseline energy-buffer model sufficient for planning; stratification optional later.

Loss model calibrated from data; account for ambient temperature effect.

Mutual exclusion enforced (no simultaneous charge/discharge) unless hardware supports it explicitly.

## 7.3 Thermal Safety and Constraint Sign‑off

All constraints classified as safety-critical must be marked and locked behind change control.

Any change to safety-critical constraints requires process engineering + OT + safety officer approval.

Optimization output must undergo constraint verification before publication.

# 8. Mathematics and Optimization

## 8.1 Optimization Problem Summary

HeatScheduler solves a constrained scheduling problem similar to unit commitment with storage. The recommended implementation uses MILP or LP with piecewise-linear efficiencies for tractability and guaranteed feasibility diagnostics.

## 8.2 Core Constraints (Reference)

Thermal balance:

supply_t = Σ_i P_{i,t} + P_dis_t − P_ch_t

supply_t + s_t ≥ D_t

Storage:

E_{t+1} = E_t + η_c·P_ch_t·Δt − (1/η_d)·P_dis_t·Δt − Loss_t

0 ≤ E_t ≤ E_max

Asset i:

u_{i,t}·Pmin_i ≤ P_{i,t} ≤ u_{i,t}·Pmax_i(t)

ramp limits and min up/down as needed

## 8.3 Objective Terms

Energy: TOU/RTP energy charge.

Demand: peak demand charge via P_peak variable (and optional ratchet rules).

Fuel: fuel use via efficiency curves.

Wear: startup/cycle penalties.

Risk: uncertainty-aware conservative demand or scenario risk term.

Slack: penalize unmet demand heavily; treat as exception.

## 8.4 Solver and Performance Guidance

Warm starts: use last solution shifted by one step to speed up replans.

Timeouts: enforce solver time limit; accept near-optimal solutions within gap threshold (e.g., 1–3%).

Scaling: normalize units to avoid numerical instability; ensure coefficients are in reasonable ranges.

Diagnostics: record constraint violations, duals/shadow prices where available for explainability and debugging.

# 9. AI/ML Forecasting, UQ, Explainability

## 9.1 Recommended MVP Approach

Start with recipe-based baseline derived from production schedule and typical load shapes.

Add ML residual model using weather and operational covariates.

Train quantile models (P10/P50/P90) and wrap with conformal for calibration.

Publish driver attributions with SHAP (global + local) and optional LIME for model-agnostic checks.

## 9.2 Metrics and Monitoring

Accuracy: MAE, MAPE, WAPE by lead time and by shift/season.

Probabilistic: pinball loss, CRPS, interval coverage and sharpness.

Drift: population stability index (PSI) on key features; out-of-distribution detection.

Operational: forecast revision size (how much forecasts change after replan).

# 10. Streaming and Integration

## 10.1 REST Endpoints

| Method | Endpoint | Purpose |
| --- | --- | --- |
| GET | /v1/heatscheduler/status | Health, versions, lag metrics |
| POST | /v1/heatscheduler/replan | Trigger replan; supports dry_run and mode |
| GET | /v1/heatscheduler/schedule?from=&to= | Latest schedule window |
| GET | /v1/heatscheduler/forecast?from=&to=&q= | Forecast with quantiles |
| GET | /v1/heatscheduler/explain?run_id= | Explainability artifacts and summary |
| GET | /v1/heatscheduler/stream | SSE stream |

## 10.2 SSE Event Examples

event: forecast.updated

data: {"run_id":"...","forecast_uri":"/v1/heatscheduler/forecast?from=...&to=...&q=p10,p50,p90"}

event: schedule.updated

data: {"run_id":"...","schedule_version":17,"schedule_uri":"/v1/heatscheduler/schedule?from=...&to=..."}

# 11. Safety, Security, and Governance

## 11.1 Safety

Default to read-only OT integration; introduce actuation only after staged commissioning and safety sign-off.

Implement constraint verification step that rejects any schedule violating safety-critical limits.

Maintain human override; log overrides for continuous improvement.

## 11.2 Security

TLS everywhere; mTLS at OT boundary; certificate lifecycle management.

RBAC and least privilege; separate service accounts per component.

Immutable audit logs with run_id traceability; integrate with SIEM.

# 12. Operations, Monitoring, and Runbooks

Define SLOs: availability, latency, feasibility rate, forecast coverage.

Dashboards: ingestion lag, DQ alerts, solver status, forecast error, schedule churn, savings KPIs.

Runbooks: data outage, solver infeasibility, model drift, OT connectivity loss, rollback.

# 13. Testing and Validation

## 13.1 Minimum Test Suite

Schema validation tests for every producer topic.

Deterministic tariff calculation tests against known bills/examples.

Forecast backtests over multiple seasons; calibration tests for prediction intervals.

Optimization replay tests ensuring constraints satisfaction and no safety violations.

End-to-end shadow pilot with operator review and documented findings.

# 14. Delivery Plan (Q2 2026 Target Template)

| Milestone | Exit Criteria |
| --- | --- |
| M1 Data Ready | Contracts + ingestion + 8+ weeks clean history |
| M2 Forecast MVP | Probabilistic forecast + SHAP report + monitoring |
| M3 Optimization MVP | Shadow schedules feasible >95%, KPI baseline |
| M4 Integration | SSE/Kafka outputs + production system integration |
| M5 Pilot | Advisory pilot meets KPI targets; safety review |
| M6 Rollout | Production deployment + runbooks + on-call + PIR |

# 15. Appendices

## 15.1 Glossary

| Term | Meaning |
| --- | --- |
| APS | Advanced Planning and Scheduling |
| BI | Business/Operational Intelligence |
| CMMS | Computerized Maintenance Management System |
| DCS | Distributed Control System |
| DR | Demand Response |
| MPC | Model Predictive Control (receding horizon) |
| OPC‑UA | OPC Unified Architecture |
| SSE | Server‑Sent Events |
| TOU | Time‑of‑Use |
| UQ | Uncertainty Quantification |